## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-04
Time: |  |  |  | 6:52 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-04 18:51:27
Temperature [°C] |  |  |  | 29.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 359 | 325 | 189 | 352 | 221 | 229 | 283 | 141 | 252 | 269
C |  | 325 | 308 | 215 | 334 | 187 | 302 | 294 | 249 | 347 | 219
D |  | 322 | 308 | 295 | 287 | 187 | 348 | 382 | 206 | 206 | 271
E |  | 273 | 365 | 203 | 366 | 185 | 106 | 128 | 300 | 295 | 270
F |  | 254 | 342 | 226 | 315 | 168 | 121 | 155 | 306 | 324 | 259
G |  | 243 | 301 | 215 | 271 | 165 | 105 | 153 | 307 | 298 | 250
H
End Time |  |  |  | 2024-10-04 18:52:38