## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-04
Time: |  |  |  | 7:01 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-04 18:59:47
Temperature [°C] |  |  |  | 29.5
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 536 | 541 | 451 | 569 | 390 | 488 | 499 | 389 | 327 | 352
C |  | 571 | 570 | 508 | 602 | 543 | 496 | 461 | 490 | 325 | 452
D |  | 537 | 616 | 463 | 616 | 431 | 420 | 424 | 435 | 312 | 472
E |  | 384 | 478 | 599 | 544 | 279 | 172 | 278 | 598 | 526 | 411
F |  | 365 | 465 | 325 | 483 | 294 | 145 | 278 | 509 | 458 | 353
G |  | 266 | 331 | 212 | 409 | 151 | 142 | 278 | 484 | 406 | 326
H
End Time |  |  |  | 2024-10-04 19:00:57