## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-06
Time: |  |  |  | 1:19 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-06 13:18:06
Temperature [°C] |  |  |  | 27.5
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 823 | 758 | 655 | 772 | 651 | 1017 | 575 | 1037 | 694 | 990
C |  | 1176 | 912 | 558 | 913 | 565 | 905 | 700 | 1003 | 662 | 866
D |  | 1111 | 1026 | 535 | 962 | 617 | 1271 | 947 | 971 | 673 | 769
E |  | 824 | 889 | 1144 | 831 | 373 | 214 | 348 | 1142 | 961 | 723
F |  | 860 | 932 | 1439 | 1303 | 396 | 139 | 300 | 1231 | 923 | 566
G |  | 693 | 929 | 1218 | 928 | 266 | 143 | 281 | 712 | 767 | 760
H
End Time |  |  |  | 2024-10-06 13:19:16