## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-07
Time: |  |  |  | 3:18 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-07 15:17:23
Temperature [°C] |  |  |  | 28.4
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 5950 | 2354 | 2606 | 2281 | 2106 | 2201 | 2203 | 2208 | 2994 | 1150
C |  | 5830 | 2374 | 2956 | 2758 | 2303 | 2667 | 2573 | 2397 | 3339 | 1366
D |  | 6091 | 2188 | 2710 | 3424 | 2675 | 2179 | 2026 | 2079 | 2733 | 1295
E |  | 1366 | 1940 | 13368 | 5839 | 6980 | 6186 | 2730 | 2359 | 1290 | 3520
F |  | 1173 | 2011 | 12235 | 5702 | 6025 | 7084 | 3187 | 2409 | 1658 | 2801
G |  | 840 | 1945 | 9830 | 6231 | 5571 | 3858 | 2035 | 1869 | 1081 | 2512
H
End Time |  |  |  | 2024-10-07 15:18:34