## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-07
Time: |  |  |  | 3:23 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-07 15:22:26
Temperature [°C] |  |  |  | 28.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 3003 | 604 | 955 | 1046 | 1169 | 866 | 788 | 701 | 1962 | 510
C |  | 2809 | 832 | 1242 | 1137 | 1448 | 1270 | 1007 | 785 | 2319 | 678
D |  | 3036 | 949 | 1798 | 1487 | 1614 | 1376 | 1169 | 824 | 2406 | 953
E |  | 898 | 1211 | 5270 | 3045 | 3731 | 3397 | 1476 | 1342 | 1263 | 1875
F |  | 597 | 1130 | 6537 | 2939 | 2922 | 3240 | 1235 | 991 | 858 | 1153
G |  | 627 | 597 | 4151 | 1379 | 1159 | 1456 | 954 | 977 | 652 | 1452
H
End Time |  |  |  | 2024-10-07 15:23:36