## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-08
Time: |  |  |  | 5:06 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-08 17:05:24
Temperature [°C] |  |  |  | 29.4
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 10539 | 3956 | 5026 | 4153 | 3384 | 2960 | 3496 | 3528 | 4990 | 2054
C |  | 10741 | 4121 | 5363 | 5422 | 3996 | 3794 | 3846 | 3603 | 5300 | 2484
D |  | 10971 | 3517 | 4806 | 6793 | 4193 | 3011 | 3027 | 3110 | 4494 | 2183
E |  | 2451 | 3559 | 28079 | 12658 | 15315 | 14966 | 4837 | 3636 | 2272 | 7569
F |  | 2230 | 3659 | 26506 | 14071 | 14154 | 16923 | 5582 | 3628 | 2918 | 6139
G |  | 1658 | 3221 | 21783 | 15137 | 12297 | 8776 | 3409 | 2877 | 1801 | 5082
H
End Time |  |  |  | 2024-10-08 17:06:34