## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-03
Time: |  |  |  | 8:41 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-03 20:40:21
Temperature [°C] |  |  |  | 28.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 110 | 132 | 155 | 120 | 142 | 98 | 100 | 72 | 143 | 106
C |  | 115 | 137 | 119 | 133 | 115 | 130 | 114 | 79 | 186 | 94
D |  | 93 | 123 | 154 | 134 | 95 | 171 | 156 | 81 | 133 | 124
E |  | 155 | 141 | 144 | 144 | 130 | 127 | 111 | 124 | 161 | 117
F |  | 141 | 119 | 150 | 129 | 148 | 102 | 105 | 109 | 118 | 81
G |  | 112 | 138 | 120 | 129 | 103 | 109 | 114 | 125 | 96 | 82
H
End Time |  |  |  | 2024-10-03 20:41:31