## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-03
Time: |  |  |  | 8:46 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-03 20:44:44
Temperature [°C] |  |  |  | 28.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 140 | 154 | 114 | 202 | 142 | 137 | 177 | 97 | 136 | 144
C |  | 148 | 187 | 147 | 173 | 166 | 155 | 148 | 117 | 155 | 111
D |  | 149 | 183 | 159 | 142 | 149 | 132 | 153 | 80 | 141 | 137
E |  | 152 | 165 | 218 | 157 | 118 | 151 | 128 | 160 | 140 | 126
F |  | 166 | 140 | 126 | 154 | 132 | 162 | 156 | 147 | 130 | 143
G |  | 152 | 119 | 184 | 149 | 133 | 108 | 119 | 129 | 148 | 137
H
End Time |  |  |  | 2024-10-03 20:45:55