## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-04
Time: |  |  |  | 6:48 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-04 18:46:47
Temperature [°C] |  |  |  | 29.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 243 | 277 | 254 | 308 | 384 | 328 | 356 | 237 | 297 | 200
C |  | 320 | 526 | 340 | 339 | 222 | 371 | 313 | 312 | 263 | 291
D |  | 323 | 371 | 253 | 389 | 273 | 392 | 330 | 359 | 180 | 312
E |  | 236 | 325 | 216 | 314 | 216 | 108 | 112 | 308 | 258 | 241
F |  | 240 | 319 | 211 | 290 | 215 | 119 | 117 | 401 | 269 | 260
G |  | 260 | 326 | 225 | 341 | 216 | 66 | 109 | 418 | 230 | 205
H
End Time |  |  |  | 2024-10-04 18:47:58