## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-04
Time: |  |  |  | 6:56 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-04 18:55:03
Temperature [°C] |  |  |  | 29.6
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 308 | 247 | 260 | 294 | 261 | 279 | 234 | 298 | 211 | 308
C |  | 376 | 364 | 262 | 306 | 246 | 281 | 241 | 327 | 220 | 353
D |  | 353 | 295 | 236 | 307 | 249 | 362 | 260 | 247 | 249 | 247
E |  | 304 | 301 | 166 | 276 | 161 | 104 | 142 | 387 | 329 | 365
F |  | 309 | 280 | 220 | 335 | 152 | 76 | 111 | 364 | 273 | 270
G |  | 301 | 303 | 173 | 226 | 150 | 98 | 109 | 256 | 296 | 341
H
End Time |  |  |  | 2024-10-04 18:56:14