## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-04
Time: |  |  |  | 7:06 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-04 19:05:28
Temperature [°C] |  |  |  | 29.4
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 335 | 332 | 178 | 309 | 182 | 246 | 210 | 187 | 201 | 210
C |  | 232 | 224 | 270 | 383 | 198 | 317 | 279 | 213 | 246 | 246
D |  | 316 | 275 | 220 | 311 | 226 | 343 | 302 | 242 | 193 | 284
E |  | 225 | 245 | 193 | 158 | 156 | 122 | 167 | 333 | 330 | 220
F |  | 200 | 184 | 173 | 222 | 152 | 98 | 162 | 364 | 343 | 233
G |  | 224 | 194 | 121 | 190 | 179 | 108 | 139 | 299 | 268 | 284
H
End Time |  |  |  | 2024-10-04 19:06:38