## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-05
Time: |  |  |  | 4:52 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-05 16:50:44
Temperature [°C] |  |  |  | 27.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 401 | 353 | 330 | 430 | 346 | 389 | 331 | 482 | 282 | 449
C |  | 559 | 430 | 296 | 450 | 258 | 436 | 307 | 491 | 337 | 417
D |  | 479 | 494 | 319 | 407 | 320 | 514 | 463 | 449 | 284 | 370
E |  | 387 | 456 | 417 | 417 | 202 | 127 | 195 | 575 | 445 | 406
F |  | 396 | 489 | 499 | 610 | 266 | 106 | 146 | 598 | 465 | 367
G |  | 381 | 529 | 429 | 449 | 187 | 102 | 139 | 407 | 404 | 404
H
End Time |  |  |  | 2024-10-05 16:51:54