## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-10-06
Time: |  |  |  | 1:14 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-10-06 13:13:20
Temperature [°C] |  |  |  | 27.4
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 755 | 927 | 689 | 918 | 1114 | 1382 | 1357 | 965 | 773 | 561
C |  | 1352 | 1772 | 928 | 1207 | 647 | 1615 | 1317 | 1452 | 934 | 1049
D |  | 1137 | 1090 | 651 | 1303 | 871 | 1321 | 1350 | 1971 | 645 | 891
E |  | 752 | 1029 | 1502 | 1266 | 615 | 167 | 398 | 1129 | 756 | 487
F |  | 706 | 971 | 1599 | 1206 | 648 | 181 | 524 | 1635 | 984 | 643
G |  | 726 | 999 | 1514 | 1468 | 588 | 128 | 444 | 1450 | 649 | 475
H
End Time |  |  |  | 2024-10-06 13:14:31