## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-04-17
Time: |  |  |  | 4:17 PM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-04-17 16:16:27
Temperature [°C] |  |  |  | 28.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 58 | 68 | 77 | 54 | 62 | 114 | 87 | 82 | 106 | 75
C |  | 64 | 90 | 77 | 60 | 43 | 68 | 82 | 69 | 87 | 59
D |  | 60 | 62 | 51 | 80 | 61 | 89 | 97 | 80 | 61 | 74
E |  | 87 | 66 | 83 | 75 | 77 | 73 | 90 | 106 | 86 | 48
F |  | 84 | 89 | 77 | 103 | 51 | 114 | 78 | 80 | 94 | 44
G |  | 73 | 90 | 77 | 90 | 70 | 95 | 100 | 111 | 95 | 50
H
End Time |  |  |  | 2024-04-17 16:17:38