## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-04-18
Time: |  |  |  | 10:43 AM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-04-18 10:42:21
Temperature [°C] |  |  |  | 29.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 61 | 48 | 83 | 42 | 46 | 152 | 60 | 69 | 52 | 51
C |  | 81 | 45 | 63 | 66 | 28 | 136 | 51 | 58 | 59 | 58
D |  | 92 | 47 | 66 | 53 | 47 | 190 | 65 | 80 | 49 | 73
E |  | 182 | 71 | 101 | 83 | 70 | 100 | 37 | 88 | 57 | 40
F |  | 201 | 65 | 92 | 75 | 52 | 177 | 112 | 81 | 71 | 41
G |  | 175 | 91 | 78 | 59 | 66 | 126 | 140 | 98 | 54 | 43
H
End Time |  |  |  | 2024-04-18 10:43:32