## Result sheet
Method name: BDB_lux
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1702006815
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦PODI:V1.11.2
Date: |  |  |  | 2024-04-18
Time: |  |  |  | 10:46 AM
System |  |  |  | R00178303
User |  |  |  | R00178303\AB916
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat.No.:6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Luminescence |  |  |  |  | Label 2
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | B2-G11
Mode | Luminescence
Name | Label 2
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-04-18 10:44:54
Temperature [°C] |  |  |  | 29
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | 201 | 87 | 96 | 79 | 53 | 113 | 83 | 85 | 64 | 38
C |  | 174 | 94 | 103 | 72 | 35 | 103 | 54 | 75 | 56 | 52
D |  | 204 | 105 | 88 | 62 | 61 | 92 | 50 | 73 | 64 | 33
E |  | 36 | 44 | 32 | 47 | 22 | 33 | 44 | 48 | 33 | 32
F |  | 31 | 43 | 49 | 42 | 24 | 35 | 46 | 23 | 42 | 32
G |  | 31 | 51 | 38 | 29 | 45 | 40 | 28 | 39 | 33 | 41
H
End Time |  |  |  | 2024-04-18 10:46:04